Appendix A

Clause by Clause Conformance with Specification

The manufacturer shall declare conformance or otherwise, clause by clause, using the following levels of conformance declaration codes.

Conformance declaration codes

| N/A = | Clause is not applicable/appropriate to the product/service |
| --- | --- |
| C1 = | The product/service conforms fully with the requirements of this clause |
| C2 = | The product/service conforms partially with the requirements of this clause |
| C3 = | The product/service does not conform to the requirements of this clause |
| C4 = | The product/service does not currently conform to the requirements of this clause, but the manufacturer proposes to modify and test the product in order to conform. |

| Manufacturer: |  |
| --- | --- |
| Product/Service Description: |  |
| Product /Service Reference: |  |

Assessor

| Name: | Company: | Signature: | Date: |
| --- | --- | --- | --- |

| Clause / Sub-clause | Requirement | Conformance Code | Remarks (Must be completed if Conformance Code is not C1) |
| --- | --- | --- | --- |
| 2 | 6 | Equipment service life |  |  |
| 4 | 1 | Type of Battery |  |  |
| 4 | 2 | Battery capacity |  |  |
| 4 | 3 | Accessories and labelling |  |  |
| 4 | 4 | Battery accommodation |  |  |
| 4 | 5 | Charger and distribution enclosure |  |  |
| 4 | 6 | Temperature range |  |  |
| 4 | 7 | Power supply |  |  |
| 4 | 8 | Charger output current |  |  |
| 4 | 9 | Electricity North West Technical Approval |  |  |
| 4 | 10 | Mains Transformer |  |  |
| 4 | 11 | Small wiring |  |  |
| 4 | 12 | Alarms |  |  |
| 4 | 13 | Distribution board |  |  |
| 4 | 14 | Instruments |  |  |
| 4 | 15 | Drawings |  |  |
| 5 | n/a | Duplicate battery charger (High resilience battery) |  |  |

Additional Notes: